## BGTS under £8, & ketone
GREEN indicates those included in the NHSE Commissioning recommendations following the second national assessment process: Sept 2025.
| Test Strips | Pack size | Drug Tariff December 2025 | Meter | Manufacturer | Meter Details & Key Features, including Recycling can be found in Appendix A of the 'NHSE Commissioning recommendations following the second national assessment of blood glucose and ketone meters, testing strip and lancets' document.
1 | True Metrix | 50 | 495 | True Metrix AIR | Trividia Health UK
2 | Finetest Lite | 50 | 515 | Finetest Lite, Finetest Lite Smart | Neon Diagnostics
3 | On Call Extra | 50 | 520 | On Call Extra, On Call Extra Mobile, On Call Extra Voice | Connect2Pharma
4 | Neon GK+ Glucose | 50 | 539 | Neon GK+ | Neon Diagnostics
5 | AgaMatrix Agile | 50 | 543 | Agile | AgaMatrix
6 | CareSens S | 50 | 545 | CareSens S Fit | Spirit Health
7 | GlucoRx Q | 50 | 545 | GlucoRx Q, GlucoRx Q Blue | GlucoRx
8 | GlucoRx Smart Glucose | 50 | 545 | GlucoRx Smart | GlucoRx
9 | GlucoRx Vivid | 50 | 545 | GlucoRx Vivid, GlucoRx Vivid Blue | GlucoRx
10 | Betachek G5 | 50 | 550 | Betachek G5 | National Diagnostics Products
11 | Betachek Visual | 50 | 550 | Blood glucose testing without a meter | National Diagnostics Products | Visually readable strips
12 | Glucoflex-R | 50 | 550 | Blood glucose testing without a meter | National Diagnostic Products | Visually readable strips
13 | palmdoc | 50 | 590 | *palmDoc Smart | palmdoc | *Palmdoc Smart expected to be available from October 2025
14 | Contour Plus | 50 | 595 | Contour Plus Blue | Ascensia Diabetes Care
15 | GlucoFix Tech Sensor | 50 | 595 | Glucofix Tech GK | A. Menarini Diagnostics
16 | Instant | 50 | 595 | Accu-Chek Instant | Roche | Are green (even though not in the national official procurement list)
17 | Performa | 50 | 599 | Accu-chek Performa | Roche Diagnostics | Are green (even though not in the national official procurement list)
18 | Mylife Aveo | 50 | 695 | Mylife Aveo | Ypsomed
19 | GlucoMen Areo Sensor | 50 | 725 | GlucoMen Areo | Menarini Diagnostics
20 | SD Codefree | 50 | 740 | SD Codefree | SD biosensor
21 | Kinetik Wellbeing BG-710 / BG-710b | 50 | 750 | Kinetik Wellbeing (BG-710) Kinetik Wellbeing SMART (BG-710b) | Kinetik Medical Devices Ltd | 100 strips x 1300
23 | TEE2 | 50 | 775 | Tee2 | Spirit Healthcare
24 | Fora Advanced Pro GD40 | 50 | 795 | FORA Advanced Pro GD40 | Miller Medical Supplies
25 | 4SURE | 50 | 799 | 4SURE Smart Duo | Nipro Diagnostics
| Strips |  |  | Meter | Manufacturer
| Blood ketone testing strips | Pack size | Drug Tariff December 2025 | Meter | Manufacturer | Meter Details & Key Features, including Recycling can be found in Appendix A of the 'NHSE Commissioning recommendations following the second national assessment of blood glucose and ketone meters, testing strip and lancets' document.
| Neon GK+ Ketone | 10 | 795 | Neon GK+ | Neon Diagnostics
| GlucoRx Smart Ketone | 10 | 895 | GlucoRx Smart | GlucoRx
| 4SURE ß-Ketone | 10 | 992 | 4SURE Smart Duo | Nipro Diagnostics
| GlucoRx HCT Ketone | 10 | 995 | GlucoRx HCT | GlucoRx
| Glucofix Tech ß-Ketone Sensor | 10 | 995 | Glucofix Tech GK | A.Menarini Diagnostics
| KetoSens | 10 | 995 | CareSens Dual | Spirit Health

## BGTS over £8
GREEN indicates those included in the NHSE Commissioning recommendations following the second national assessment process: Sept 2025.
Test Strips | Pack size | Drug Tariff December 2025 | Meter | Manufacturer | Meter Details & Key Features, including Recycling can be found in Appendix A of the 'NHSE Commissioning recommendations following the second national assessment of blood glucose and ketone meters, testing strip and lancets' document.
Kinetik Wellbeing AG-607 (formerly Kinetik Wellbeing) | 50 | 849 | Kinetik Wellbeing | Kinetik Medical Devices Ltd | 100 strips x 1398
SURESIGN Resure | 50 | 849 | SURESIGN Resure | CIGA
On Call Sure | 50 | 850 | On Call Sure | Connect2Pharma Ltd.
WaveSense JAZZ | 50 | 874 | WaveSense JAZZ, Wireless | Agamatrix
WaveSense JAZZ Duo | 50 | 874 | WaveSense JAZZ, Wireless | Agamatrix
Oh'Care Lite | 50 | 888 | Oh'Care Lite | Neon Diagnostics Ltd
GlucoRx HCT Glucose | 50 | 895 | GlucoRx HCT | GlucoRx
GlucoRx Nexus | 50 | 895 | GlucoRx Nexus Blue | GlucoRx
VivaChek Ino | 50 | 899 | Vivacheck Ino | Vivacheck
AutoSense | 50 | 900 | Autosense, Autosense voice | Advance Diagnostic Products (NI) Ltd
Mylife Pura | 50 | 950 | Mylife Pura, Mylife Pura X | Ypsomed
Mylife Unio | 50 | 950 | Mylife Unio | Ypsomed
palmdoc iCare Advanced | 50 | 970 | Palmdoc 1 or 2 | Palmdoc
Element | 50 | 989 | Element | Neon Diagnostics
GlucoLab | 50 | 989 | GlucoLab | Neon Diagnostics
GluNEO | 50 | 989 | GluNEO | Neon Diagnostics
OKMeter Core | 50 | 990 | OKMeter Core | MediGenix
Advocate Redi-Code+ | 50 | 995 | Advocate Redi-Code+ | Diabetes Care Technology Ltd
Betachek C50 | 50 | 995 | Betachek C50 | National Diagnostic Products (NDP)
CareSens PRO | 50 | 995 | CareSens Dual | Spirit Healthcare
Dario Lite | 50 | 995 | DarioLite | LabStyle Innovations Ltd
GlucoRx GO | 50 | 995 | GlucoRx GO | GlucoRx
GlucoRx GO Professional | 50 | 995 | GlucoRx GO Professional | GlucoRx
OneTouch Select Plus | 50 | 999 | Select Plus | Lifescan
Contour | 50 | 1015 | Contour | Ascensia Diabetes Care
Mobile | 50 | 1024 | Mobile Test Cassette | Roche Diabetes Care Ltd
MediTouch 2 | 50 | 1249 | MediTouch 2 | Medisana Healthcare (UK) Ltd
CareSens N | 50 | 1275 | CareSens N | Spirit Healthcare
Aviva | 50 | 1299 | Aviva | Roche Diabetes Care Ltd
palmdoc iCare Advanced Solo | 50 | 1350 | palmdoc iCare Advanced | Palmdoc Ltd
On-call Advanced | 50 | 1365 | On-call Advanced | Point of Care Testing Ltd
MODZ | 50 | 1400 | MODZ | Modz Oy
Mendor Discreet | 50 | 1475 | Mendor Discreet | SpringMed Solutions Ltd
GlucoDock | 50 | 1490 | GlucoDock Glucose | Medisana Healthcare (UK) Ltd
MediTouch | 50 | 1490 | MediTouch | Medisana Healthcare (UK) Ltd | Meter discontinued
Dario | 50 | 1495 | Dario Smart | LabStyle Innovations Ltd
Breeze 2 | 50 | 1500 | Breeze 2 | Bayer Plc
OneTouch Verio | 50 | 1512 | Verio Reflect, Verio Flex | LifeScan
Myglucohealth | 50 | 1550 | Myglucohealth | Entra Health Systems Ltd
KEYA Smart | 50 | 1586 | KEYA Smart | GlucoRx Ltd | Measures glucose and ketones during every test, use only when clinically indicated
GlucoRx X6 Glucose | 50 | 1595 | GlucoRx X6 Glucose | GlucoRx Ltd
Contour Next | 50 | 1621 | Next ONE, Next, Next LINK/2.4, Next USB, XT | Ascensia Diabetes Care UK Ltd
Guide | 50 | 1621 | Guide, Me, Link | Roche Diabetes Care Ltd
FreeStyle Optium | 50 | 1630 | Optium | Abbott Diabetes Care
SensoCard | 50 | 1630 | SensoCard Plus | BBI Healthcare Ltd
FreeStyle Lite | 50 | 1641 | Lite, Freedom Lite, Navigator II, InsuLinx | Abbott Diabetes Care

## CGM
Please note: Green indicates those included on the NHS Somerset formulary
DETECTION SENSOR, INTERSTITIAL FLUID FOR GLUCOSE
| Appliance | Contains | Drug Tariff Dec 2025 | Further Information
| CareSens Air Sensor | 1 sensor, 1 sensor applicator | 3187
| Dexcom One Sensor | 1 sensor, 1 sensor applicator | 2300 | being withdrawn by March 2026
|  | 3 sensors, 3 sensor applicators | 6900
|  | Transmitter | 1800
| Dexcom One+ Sensor | 1 sensor, 1 sensor applicator | 2497
| FreeStyle Libre 2 Plus Sensor | 1 sensor, 1 sensor applicator | 3750
| FreeStyle Libre 3 Sensor | 1 sensor, 1 sensor applicator | 4200 | RED TLS
| FreeStyle Libre 3 Plus Sensor | 1 sensor, 1 sensor applicator | 4500 | RED TLS
| GlucoMen iCan | 1 sensor, 1 sensor applicator | 3725
| GlucoRx AiDEX Sensor | 1 sensor, 1 sensor applicator | 2976
|  | Transmitter | 1995

## ISO standards
ISO Standards for Blood Glucose Meters
New ISO standards drawn up in 2013 and meters must meet this standard by 2016
The ISO guidelines for blood glucose meters are a detailed set of standards which blood glucose meters should meet.
The name ISO stands for International Organization for Standardization, the organisation, based in Geneva, Switzerland, that is responsible for defining the standards.
Currently, the set of standards which need to be met are the set of standards that were published in 2003 (ISO: 15197:2003). In 2013, an updated set of standards (ISO: 15197:2013) were published and these newer standards will need to be met blood glucose meter manufacturers by the end of May 2016.
What do the ISO standards require?
The ISO standards have a number of different components which need to be met. The 2003 ISO standards included system accuracy and user performance components. The new 2013 ISO standards included additional components such as:
Evaluation of instructions of use
Influence quantities of interfering substances
The system accuracy requirements are carried out by comparing blood glucose results of meters against the glucose level provided by a laboratory measurement. The YSI 2300 STAT Plus glucose analyser is able to perform the laboratory measurement.
The user performance evaluates the accuracy when the testing is performed by patients. The evaluation of instructions for use is designed to evaluate whether the instructions for the meter are clear enough. The influence quantities of interferents tests whether the meter can perform effectively for testing blood that has different levels of substances that could interfere with the result of the test. 24 potential interferents are listed by the ISO 2013 standards and these substances include haematocrit levels (the volume of red blood cells in the blood), cholesterol levels and levels of common drugs such as ibuprofen.
ISO system accuracy standards for blood glucose meters
Currently blood glucose meters need to meet the system accuracy standards of 2003 (ISO: 15197:2003) which state that 95% of blood glucose results should be:
Within ± 0.83 mmol/L of laboratory results at concentrations of under 4.2 mmol/L (Within ± 15 mg/dl of laboratory results at concentrations of under 75 mg/dL)
Within ± 20% of laboratory results at concentrations of 4.2 mmol/L (75 mg/dL) or more
In 2013 new, tighter accuracy standards (ISO: 15197:2013) were drawn up, requiring that 95% of blood glucose results should reach the following standard
Within ± 0.83 mmol/L of laboratory results at concentrations of under 5.6 mmol/L (Within ± 15 mg/dl of laboratory results at concentrations of under 100 mg/dL)
Within ± 20% of laboratory results at concentrations of 5.6 mmol/L (100 mg/dL) or more
The 2013 guidelines also now stipulate that 99% of readings must fall within zones A and B of the Consensus Error Grid for type 1 diabetes.

## NICE
Self-monitoring of blood glucose
1.6.12 Take the Driver and Vehicle Licensing Agency (DVLA) At a glance guide to the current medical standards of fitness to drive into account when offering self‑monitoring of blood glucose levels for adults with type 2 diabetes. [2015, amended 2022]
1.6.13 Do not routinely offer self-monitoring of blood glucose levels for adults with type 2 diabetes unless:
the person is on insulin or
there is evidence of hypoglycaemic episodes or
the person is on oral medication that may increase their risk of hypoglycaemia while driving or operating machinery or
the person is pregnant, or is planning to become pregnant. For more information, see the NICE guideline on diabetes in pregnancy. [2015, amended 2022]
1.6.14 Consider short-term self-monitoring of blood glucose levels in adults with type 2 diabetes (and review treatment as necessary):
when starting treatment with oral or intravenous corticosteroids or
to confirm suspected hypoglycaemia. [2015, amended 2022]
1.6.15 Be aware that adults with type 2 diabetes who have acute intercurrent illness are at risk of worsening hyperglycaemia. Review treatment as necessary. [new 2015]
1.6.16 If adults with type 2 diabetes are self‑monitoring their blood glucose levels, carry out a structured assessment at least annually. The assessment should include:
the person's self-monitoring skills
the quality and frequency of testing
checking that the person knows how to interpret the blood glucose results and what action to take
the impact on the person's quality of life
the continued benefit to the person
the equipment used. [2015, amended 2022]