## Test Strips under £10
GREEN indicates those included in the NHSE Commissioning recommendations following the second national assessment process: June 2025.
| Test Strips | Pack size | Drug Tariff October 2025 | Meter | Manufacturer | Meter Details & Key Features, including Recycling can be found in Appendix A of the 'NHSE Commissioning recommendations following the second national assessment of blood glucose and ketone meters, testing strip and lancets' document.
1 | True Metrix | 50 | 495 | True Metrix AIR | Trividia Health UK
2 | Finetest Lite | 50 | 515 | Finetest Lite, Finetest Lite Smart | Neon Diagnostics
3 | On Call Extra | 50 | 520 | On Call Extra, On Call Extra Mobile, On Call Extra Voice | Connect2Pharma
4 | Neon GK+ Glucose | 50 | 539 | Neon GK+ | Neon Diagnostics
5 | Agile | 50 | 543 | Agile | AgaMatrix
7 | CareSens S | 50 | 545 | CareSens S Fit | Spirit Health
8 | GlucoRx Q | 50 | 545 | GlucoRx Q, GlucoRx Q Blue | GlucoRx
9 | GlucoRx Smart Glucose | 50 | 545 | GlucoRx Smart | GlucoRx
10 | GlucoRx Vivid | 50 | 545 | GlucoRx Vivid, GlucoRx Vivid Blue | GlucoRx
11 | Betachek G5 | 50 | 550 | Betachek G5 | National Diagnostics Products
12 | Betachek Visual | 50 | 550 | Blood glucose testing without a meter | National Diagnostics Products | Visually readable strips
13 | Glucoflex-R | 50 | 550 | Blood glucose testing without a meter | National Diagnostic Products | Visually readable strips
14 | palmdoc | 50 | 590 | **palmDoc Smart | palmdoc | **Palmdoc Smart meter available from October 2025
15 | Contour Plus | 50 | 595 | Contour Plus Blue | Ascensia Diabetes Care
16 | GlucoFix Tech Sensor | 50 | 595 | Glucofix Tech GK | A. Menarini Diagnostics
17 | Instant | 50 | 595 | Accu-Chek Instant | Roche | Are green (even though not in the national official procurement list)
18 | Performa | 50 | 599 | Accu-chek Performa | Roche Diagnostics | Are green (even though not in the national official procurement list)
19 | Mylife Aveo | 50 | 695 | Mylife Aveo | Ypsomed
20 | GlucoMen Areo Sensor | 50 | 725 | GlucoMen Areo | Menarini Diagnostics
21 | SD Codefree | 50 | 740 | SD Codefree | SD biosensor
22 | Kinetik Wellbeing BG-710 / BG-710b | 50 | 750 | Kinetik Wellbeing (BG-710) Kinetik Wellbeing SMART (BG-710b) | Kinetik Medical Devices Ltd | 100 strips x 1300
23 | GlucoZen.auto | 50 | 764 | Glucozen auto | GlucoZen | To be deleted from DT 1 December 2025
24 | TEE2 | 50 | 775 | Tee2 | Spirit Healthcare
25 | Fora Advanced Pro GD40 | 50 | 795 | FORA Advanced Pro GD40 | Miller Medical Supplies
26 | 4SURE | 50 | 799 | 4SURE Smart Duo | Nipro Diagnostics
27 | Kinetik Wellbeing AG-607 (formerly Kinetik Wellbeing) | 50 | 849 | Kinetik Wellbeing | Kinetik Medical Devices Ltd | 100 strips x 1398
28 | SURESIGN Resure | 50 | 849 | SURESIGN Resure | CIGA
29 | On Call Sure | 50 | 850 | On Call Sure | Connect2Pharma Ltd.
30 | WaveSense JAZZ | 50 | 874 | WaveSense JAZZ, Wireless | Agamatrix
31 | WaveSense JAZZ Duo | 50(2 x 25) | 874 | WaveSense JAZZ, Wireless | Agamatrix
32 | Oh'Care Lite | 50 | 888 | Oh'Care Lite | Supplier: Neon Diagnostics Ltd
33 | GlucoRx HCT Glucose | 50 | 895 | GlucoRx HCT | GlucoRx
34 | GlucoRx Nexus | 50 | 895 | GlucoRx Nexus Blue | GlucoRx
35 | VivaChek Ino | 50 | 899 | Vivacheck Ino | Vivacheck
36 | AutoSense | 50(25) | 900 | Autosense, Autosense voice | ADP
37 | Microdot+ | 50 | 949 | Microdot+ | Cambridge sensors | To be deleted from DT 1 December 2025
38 | Mylife Pura | 50 | 950 | Mylife Pura, Mylife Pura X | Ypsomed
39 | Mylife Unio | 50 | 950 | Mylife Unio | Ypsomed
40 | palmdoc iCare Advanced | 50 | 970 | Palmdoc 1 or 2 | Palmdoc
41 | Element | 50 | 989 | Element | Neon Diagnostics
42 | GlucoLab | 50 | 989 | GlucoLab | Neon Diagnostics
43 | GluNEO | 50 | 989 | GluNEO | Neon Diagnostics
44 | OKMeter Core | 50 | 990 | OKMeter Core | OK Biotech Co. Ltd
45 | Advocate Redi-Code+ | 50 | 995 | Advocate Redi-Code+ | Diabetes Care technology
46 | Betachek C50 | 50 | 995 | Betachek C50 | National Diagnostic Products (NDP)
47 | CareSens PRO | 50 | 995 | CareSens Dual | Spirit Healthcare
48 | Dario Lite | 50 | 995 | DarioLite | Advanced Therapeutics
49 | GlucoRx GO | 50 | 995 | GlucoRx GO | GlucoRx
50 | GlucoRx GO Professional | 50 | 995 | GlucoRx GO Professional | GlucoRx
51 | OneTouch Select Plus | 50 | 999 | Select Plus | Lifescan
| Strips |  |  | Meter | Manufacturer
| Blood ketone testing strips | Pack size | Drug Tariff October 2025 | Meter | Manufacturer | Meter Details & Key Features, including Recycling can be found in Appendix A of the 'NHSE Commissioning recommendations following the second national assessment of blood glucose and ketone meters, testing strip and lancets' document.
| Neon GK+ Ketone | 10 | 795 | Neon GK+ | Neon Diagnostics
| GlucoRx Smart Ketone | 10 | 895 | GlucoRx Smart | GlucoRx
| 4SURE ß-Ketone | 10 | 992 | 4SURE Smart Duo | Nipro Diagnostics
| GlucoRx HCT Ketone | 10 | 995 | GlucoRx HCT | GlucoRx
| Glucofix Tech ß-Ketone Sensor | 10 | 995 | Glucofix Tech GK | A.Menarini Diagnostics
| KetoSens | 10 | 995 | CareSens Dual | Spirit Health

## BGTS over £10
Blood Glucose Testing Strips and Meters
Meter | Sensitivity range (mmol/L) | Compatible test strip | Company | Price/50 | Further Information
Aviva | 0.6-33.3 | Aviva | Roche | 12.99 | Roche replacement for Aviva device. Aviva strips still available.Roche insulin pumps will still need Aviva strips
Mobile | 0.6-33.3 | Mobile Test Cassette | Roche | 10.24 | All in one device.
Breeze 2 |  | Breeze 2 | Bayer | 15
CareSens N | 1.1-33.3 | CareSens N | Spirit Healthcare | 12.75
CareSens N Pop | 1.1-33.3 | As above | Spirit Healthcare | 12.75
CareSens N Voice | 1.1-33.3 | As above | Spirit Healthcare | 12.75
Contour |  | Contour | Ascensia Diabetes Care | 10.15
Contour XT | 0.6-33.3 | Contour Next | Ascensia Diabetes Care | 16.21
Dario Smart | 0.6-33.3 | Dario | Advanced Therapeutics | 14.95
FreeStyle |  |  | Abbott Diabetes Care
Freedom Lite | 1.1-27.8 | FreeStyle Lite | Abbott Diabetes Care | 16.41
InsulinX | 1.1-27.8 | FreeStyle Lite | Abbott Diabetes Care | 16.41
Lite | 1.1-27.8 | FreeStyle Lite | Abbott Diabetes Care | 16.41
Optium | 1.1-27.8 | FreeStyle Optium | Abbott Diabetes Care | 16.3
GlucoDock | 1.1-33.3 | GlucoDock Glucose | Medisana | 14.9
|  | Guide |  | 16.21
KEYA Smart |  | KEYA | GlucoRx | 15.86 | Measures glucose and ketones during every test, use only when clinically indicated
X6 Glucose |  | GlucoRx X6 glucose | GlucoRx | 15.95
MediTouch* | 1.1-33.3 | MediTouch | Medisana | 14.9 | Meter discontinued
MediTouch 2 | 1.1-35 | MediTouch 2 | Medisana | 12.49
|  | Mendor Discreet |  | 14.75
MODZ | 1.1-33.3 | MODZ | Modz | 14
Myglucohealth | 0.6-33.3 | Myglucohealth | Entra Health Systems | 15.5
On-call Advanced | 0.6-33.3 | On-call Advanced | Point of Care Testing | 13.65
OneTouch
Verio, Verio Flex, VerioIQ | 1.1-33.3 | OneTouch Verio | LifeScan | 15.12 | Meter no longer provided in the UK
palmdoc iCare Advanced | 1.1-33.3 | palmdoc iCare Advanced Solo | palmdoc iCare | 13.5
SensoCard Plus | 1.1-33.3 | SensoCard | BBI Healthcare | 16.3

## CGM
Please note: Green indicates those included on the NHS Somerset formulary
DETECTION SENSOR, INTERSTITIAL FLUID FOR GLUCOSE
| Appliance | Contains | Drug Tariff Oct 2025 | Further Information
| CareSens Air Sensor | 1 sensor, 1 sensor applicator | 3187
| Dexcom One Sensor | 1 sensor, 1 sensor applicator | 2300 | being withdrawn by March 2026
|  | 3 sensors, 3 sensor applicators | 6900
|  | Transmitter | 1800
| Dexcom One+ Sensor | 1 sensor, 1 sensor applicator | 2497
| FreeStyle Libre 2 Plus Sensor | 1 sensor, 1 sensor applicator | 3750
| FreeStyle Libre 3 Sensor | 1 sensor, 1 sensor applicator | 4200 | RED TLS
| FreeStyle Libre 3 Plus Sensor | 1 sensor, 1 sensor applicator | 4500 | RED TLS
| GlucoMen iCan | 1 sensor, 1 sensor applicator | 3725
| GlucoRx AiDEX Sensor | 1 sensor, 1 sensor applicator | 2976
|  | Transmitter | 1995

## ISO standards
ISO Standards for Blood Glucose Meters
New ISO standards drawn up in 2013 and meters must meet this standard by 2016
The ISO guidelines for blood glucose meters are a detailed set of standards which blood glucose meters should meet.
The name ISO stands for International Organization for Standardization, the organisation, based in Geneva, Switzerland, that is responsible for defining the standards.
Currently, the set of standards which need to be met are the set of standards that were published in 2003 (ISO: 15197:2003). In 2013, an updated set of standards (ISO: 15197:2013) were published and these newer standards will need to be met blood glucose meter manufacturers by the end of May 2016.
What do the ISO standards require?
The ISO standards have a number of different components which need to be met. The 2003 ISO standards included system accuracy and user performance components. The new 2013 ISO standards included additional components such as:
Evaluation of instructions of use
Influence quantities of interfering substances
The system accuracy requirements are carried out by comparing blood glucose results of meters against the glucose level provided by a laboratory measurement. The YSI 2300 STAT Plus glucose analyser is able to perform the laboratory measurement.
The user performance evaluates the accuracy when the testing is performed by patients. The evaluation of instructions for use is designed to evaluate whether the instructions for the meter are clear enough. The influence quantities of interferents tests whether the meter can perform effectively for testing blood that has different levels of substances that could interfere with the result of the test. 24 potential interferents are listed by the ISO 2013 standards and these substances include haematocrit levels (the volume of red blood cells in the blood), cholesterol levels and levels of common drugs such as ibuprofen.
ISO system accuracy standards for blood glucose meters
Currently blood glucose meters need to meet the system accuracy standards of 2003 (ISO: 15197:2003) which state that 95% of blood glucose results should be:
Within ± 0.83 mmol/L of laboratory results at concentrations of under 4.2 mmol/L (Within ± 15 mg/dl of laboratory results at concentrations of under 75 mg/dL)
Within ± 20% of laboratory results at concentrations of 4.2 mmol/L (75 mg/dL) or more
In 2013 new, tighter accuracy standards (ISO: 15197:2013) were drawn up, requiring that 95% of blood glucose results should reach the following standard
Within ± 0.83 mmol/L of laboratory results at concentrations of under 5.6 mmol/L (Within ± 15 mg/dl of laboratory results at concentrations of under 100 mg/dL)
Within ± 20% of laboratory results at concentrations of 5.6 mmol/L (100 mg/dL) or more
The 2013 guidelines also now stipulate that 99% of readings must fall within zones A and B of the Consensus Error Grid for type 1 diabetes.

## NICE
Self-monitoring of blood glucose
1.6.12 Take the Driver and Vehicle Licensing Agency (DVLA) At a glance guide to the current medical standards of fitness to drive into account when offering self‑monitoring of blood glucose levels for adults with type 2 diabetes. [2015, amended 2022]
1.6.13 Do not routinely offer self-monitoring of blood glucose levels for adults with type 2 diabetes unless:
the person is on insulin or
there is evidence of hypoglycaemic episodes or
the person is on oral medication that may increase their risk of hypoglycaemia while driving or operating machinery or
the person is pregnant, or is planning to become pregnant. For more information, see the NICE guideline on diabetes in pregnancy. [2015, amended 2022]
1.6.14 Consider short-term self-monitoring of blood glucose levels in adults with type 2 diabetes (and review treatment as necessary):
when starting treatment with oral or intravenous corticosteroids or
to confirm suspected hypoglycaemia. [2015, amended 2022]
1.6.15 Be aware that adults with type 2 diabetes who have acute intercurrent illness are at risk of worsening hyperglycaemia. Review treatment as necessary. [new 2015]
1.6.16 If adults with type 2 diabetes are self‑monitoring their blood glucose levels, carry out a structured assessment at least annually. The assessment should include:
the person's self-monitoring skills
the quality and frequency of testing
checking that the person knows how to interpret the blood glucose results and what action to take
the impact on the person's quality of life
the continued benefit to the person
the equipment used. [2015, amended 2022]